SDWA Rules Implementation

Status Summary

2004 Deadlines

February 4, 2004

# RULES UNDER IMPLEMENTATION

### Operator Certification

Applies to CWSs and NTNCWSs.

Status:

- Rule implemented.

2004 Deadlines:

- State must submit program for annual review.

- September 30, 2004 – All expense reimbursement grants must be awarded.

CCR - Consumer Confidence Report

Applies to all CWSs.

Status:

- Rule implemented.

2004 Deadlines:

- January 2004 – Identify new systems (those operating for a full calendar year) and notify them of requirements.

- July 1, 2004 – CCRs delivered to customers; state to receive delivery notification and certification within 10 days.

IESWTR - Interim Enhanced Surface Water Treatment Rule

Applies to all surface water and GWUDI systems serving 10,000 and more - effective January 1, 2002.

Status:

- Disinfection profiling is complete.

- State must respond to turbidity exceedances reported as of January 1, 2002 and in limited cases, conduct Comprehensive Performance Evaluations.

2004 Deadlines:

- December 31, 2004  - State must complete first round of sanitary surveys for CWSs.

Stage 1 DBP - Stage 1 Disinfectants & Disinfection By-Products Rule

Applies to all CWSs and NTNCWSs that treat their water with a chemical disinfectant for either primary or residual treatment and TNCWSs that apply chlorine dioxide.

Status:

- January 1, 2002 - Rule became effective for all surface water and GWUDI systems serving more than 10,000 (Large Subpart H).

- January 1, 2004 – Rule is effective for all surface water and GWUDI systems serving less than 10,000 (Small Subpart H) and all ground water systems.

2004 Deadlines:

- January 31, 2004 – All Small Subpart H monitoring plans must be available at the system for state inspection.

- April 10, 2004 – All Small Subpart H systems serving >3,300 must submit monitoring plans to the state.

### UCMR – Unregulated Contaminants Monitoring Rule

Applies to all large CWSs and NTNCWSs (that do not purchase their water from another system) serving more than 10,000 persons and a select group of small systems.  Note:  Non-primacy rule; state assists EPA with implementation.

Status:  Rule implemented.

2004 Deadlines:

- September 2004 – 5-year cycle of UCMR proposal.

### LCR – Lead & Copper Minor Revisions

Applies to all CWSs and NTNCWSs.

Status:  Rule implemented.

2004 Deadlines:  None.

#### PN – Public Notification

Applies to all public water systems.

Status:  Rule implemented.

2004 Deadlines:  None.

Radionuclides Rule

Applies to all sizes of CWSs.

Status:

- Data collected between June 2000 and December 8, 2003 may be eligible for use as grandfathered data.

2003/2004 Deadlines:

- December 8, 2003 - Systems must begin initial monitoring under state specified monitoring plan unless the state permits use of grandfathered data.

# Arsenic Rule

Applies to all CWSs and NTNCWSs; all systems must be in compliance by January 23, 2006.

Status:

- States are working with systems to determine monitoring schedules.

2004 Deadlines:

- January 22, 2004 – All NEW systems/sources must collect initial monitoring samples for all IOCs, SOCs, and VOCs, within a period and frequency determined by the state.

FBR - Filter Backwash Recycling Rule

Applies to all public water supply systems that use surface water or GWUDI, practice conventional or direct filtration, and recycle spent filter backwash, thickener supernatant, or liquids from dewatering processes.

Status:  On-going.

2004 Deadlines:

- December 8, 2003 – Systems must submit written notification to the state if they recycle.

- June 8, 2004 – If systems recycle, they must return recycle flows through the processes of the existing conventional or direct filtration system or an alternate recycle location approved by the state (a 2-year extension is available for systems making capital improvements to modify recycle location).

LT1ESWTR - Long Term 1 – Enhanced Surface Water Treatment Rule

Applies to all surface water and GWUDI systems serving less than 10,000 – effective January 14, 2003.

Status:

  - Systems serving 500 - 9,999 began profiling as required on July 1, 2003.

2004 Deadlines:

- January 1, 2004 – Deadline for systems serving less than 500 to report results of optional monitoring which shows TTHM and HAA5 levels less than 0.064 and 0.048 (g/L respectively OR

- Systems must initiate disinfection profiling and complete it by December 31, 2004.

- Systems serving 500 – 9,999 must complete disinfection profiling by June 30, 2004.

# PROPOSED RULES

Long Term 2 – Enhanced Surface Water Treatment Rule (LT2ESWTR)

Applies to all surface water and GWUDI systems.

Status:  Rule was proposed on August 11, 2003; comments were due January 9, 2004.

Stage 2 Disinfectant Disinfection By-Products Rule (Stage 2 DBP)

Applies to all CWSs and NTNCWSs that treat their water with a chemical disinfectant or deliver water that has been treated with a chemical disinfectant.

Status:  Rule was proposed on August 18, 2003; comments were due January 16, 2004.

# Ground Water Rule

Applies to all systems using a ground water supply (CWSs, NTNCWSs, & TNCWSs).

Status:  Rule proposed on May 10, 2000; final rule expected in summer of 2004 (?)

### Radon Rule

Applies to all CWSs using a ground water supply or mixed ground and surface water supplies.

Status:  Rule proposed on November 2, 1999; final rule expected - ?